Type: Data is not found in source file

Policy Title: Policy for Coronavirus Disease-2019

Policy Number: Data is not found in source file

Applicable Sector(s): Data is not found in source file

Functional Area(s): Data is not found in source file

Brief Description: Data is not found in source file

Effective Date/Period: November 15, 2021

Approved by: Data is not found in source file

Prepared by: Data is not found in source file

Responsible Function(s): Data is not found in source file

Responsible Function Officer(s): Data is not found in source file

Supersedes: Policy for Coronavirus Disease-2019 Tests During the Public Health Emergency (Revised): Guidance for Clinical Laboratories,
Commercial Manufacturers, and
Food and Drug Administration Staff

Last Reviewed: 11 (1) Diagnostic and Serology Tests on Notification Lists for which an EUA Request was

Applies to: Data is not found in source file

Reason for Policy: Data is not found in source file

[English]

- INTRODUCTION

FDA plays a critical role in protecting the United States from threats such as emerging infectious diseases, including the Coronavirus Disease 2019 (COVID-19) pandemic. FDA is committed to providing timely guidance to support response efforts to this pandemic. FDA is issuing this guidance to provide FDA’s enforcement policies regarding certain novel coronavirus (COVID-19) tests for the duration of the public health emergency. Rapid detection of COVID-19 cases in the United States requires wide availability of testing to control this rapidly spreading, severe illness. This document supersedes “Policy for Coronavirus Disease- 2019 Tests During the Public Health Emergency (Revised): Guidance for Clinical Laboratories, Commercial Manufacturers, and Food and Drug Administration Staff” issued May 11, 2020. The policies in this guidance are intended to remain in effect only for the duration of the public health emergency related to COVID-19 declared by the Secretary of Health and Human Services (HHS) on January 31, 2020, effective January 27, 2020, including any renewals made by the HHS Secretary in accordance with section 319(a)(2) of the Public Health Service Act (PHS Act). FDA continues to assess the evolving situation and intends to update this guidance as appropriate. Given this public health emergency, and as discussed in the Notice in the Federal Register of March 25, 2020, titled “Process for Making Available Guidance Documents Related to Coronavirus Disease 2019,” available at https://www.govinfo.gov/content/pkg/FR-2020-03- 25/pdf/2020-06222.pdf, this guidance is being implemented without prior public comment because FDA has determined that prior public participation for this guidance is not feasible or appropriate (see section 701(h)(1)(C) of the Federal Food, Drug, and Cosmetic Act (FD&C Act) and 21 CFR 10.115(g)(2)). This guidance document is being implemented immediately, but it remains subject to comment in accordance with the Agency’s good guidance practices. The contents of this document do not have the force and effect of law and are not meant to bind the public in any way, unless specifically incorporated into a contract. This document is intended only to provide clarity to the public regarding existing requirements under the law. FDA guidance documents, including this guidance, should be viewed only as recommendations, unless specific regulatory or statutory requirements are cited. The use of the word should in Agency guidance means that something is suggested or recommended, but not required.

- POLICY STATEMENT

*The flowcharts above give a general overview of the policies in Section IV.A of this guidance. Readers should refer to that section for the policies themselves. The flowcharts do not address policies discussed in other sections of this guidance.

1. Purpose

*The flowcharts above give a general overview of the policies in Section IV.A of this guidance. Readers should refer to that section for the policies themselves. The flowcharts do not address policies discussed in other sections of this guidance.

2. Scope & Beneficiaries

This guidance applies to diagnostic and serology tests for COVID-19.3 The policies and recommendations described in this guidance are intended to facilitate availability of tests for COVID-19 that FDA believes will be most beneficial at the current stage of the public health emergency. FDA notes that the enforcement policies in this guidance do not address medical device reporting (MDR) under 21 CFR Part 803 for tests offered prior to authorization as described in the guidance. Developers offering such tests are expected to comply with applicable MDR requirements, including reporting of medical device events that reasonably suggest that their device may have caused or contributed to a death or serious injury, and malfunctions that would be likely to cause or contribute to a death or serious injury if they were to recur. Moreover, 3 Throughout this guidance, the term “diagnostic test” is generally used to refer to molecular or antigen tests, both of which can be used to diagnose infection with the SARS-CoV-2 virus. Screening tests, which are used for testing individuals without symptoms or other reasons to suspect COVID-19, are a subset of diagnostic tests. Molecular tests detect the presence of viral RNA and antigen tests detect the presence of viral proteins that are part of the SARS-CoV-2 virus. The terms “serology” or “antibody” tests are generally used to refer to tests that detect antibodies to the SARS-CoV-2 virus. Because the antibodies are part of the body’s immune response to exposure and not the virus itself, such testing cannot be used for diagnosis of acute infection. unless and until an EUA is issued that authorizes additional testing environments for a specific test, under CLIA, use of that test is limited to laboratories certified under CLIA that meet the requirements to perform tests of high-complexity, including testing at the point-of-care when the site is covered by the laboratory’s CLIA certificate for high-complexity testing.

3. Exclusions

- *The flowcharts above give a general overview of the policies in Section IV.A of this guidance. Readers should refer to that section for the policies themselves. The flowcharts do not address policies discussed in other sections of this guidance.

4. Award Structure & Payout Tiers

13 Prioritization of EUA requests from (or supported by) government stakeholders is discussed in the Guidance for.

Policy Review Note: Data is not found in source file

[English]

- DEFINITIONS

*The flowcharts above give a general overview of the policies in Section IV.A of this guidance. Readers should refer to that section for the policies themselves. The flowcharts do not address policies discussed in other sections of this guidance.

- RELATED POLICIES, PROCEDURES, FORMS, GUIDELINES & OTHER RESOURCES

*The flowcharts above give a general overview of the policies in Section IV.A of this guidance. Readers should refer to that section for the policies themselves. The flowcharts do not address policies discussed in other sections of this guidance.

- HISTORY

Document issued on the web on November 15, 2021.